WATER REPORT

| SAMPLE COLLECTION DATE | : | 01-10-2026 |
| --- | --- | --- |
| SAMPLE ANALYSIS DATE | : | 01-10-2026 |
| CLIENT NAME | : | Shree Prakash Textiles |
| ADDRESS | : | Aditya Nagar, Near Asarwa Railway Station, Ahmedabad |
| CONTACT PERSON | : | Mr. Ranjeet Sir |

RO FEED WATER & RO 3RD STAGE REJECT WATER WATER ANALYSIS REPORT

| PARAMETER | UNIT | RO FEED WATER | RO 3RD STAGE REJECT WATER |
| --- | --- | --- | --- |
| pH | - | 7 |  |
| Chloride as Cl | Mg/L | 1900 |  |
| Sulphate | Mg/L | 300 |  |
| Calcium | Mg/L | 900 |  |

REMARKS

The water condition is at its worst.

For,

Nirmaan WaterTech Solutions

Ritesh Dantani

info@nirmaanwatertech.com

Analysed by: Administrator