WATER REPORT

| SAMPLE COLLECTION DATE | : | 01-10-2026 |
| --- | --- | --- |
| SAMPLE ANALYSIS DATE | : | 02-10-2026 |
| CLIENT NAME | : | Aamod |
| ADDRESS | : | Panvel JNPT Uran Road |
| CONTACT PERSON | : | Manoj Bagade |

RO FEED WATER ANALYSIS REPORT

Dear Sir,

Please find below the water analysis results for Aamod. The measured parameters for the submitted samples are presented for your review.

| PARAMETER | UNIT | RO FEED WATER |
| --- | --- | --- |
| pH | - | 7 |
| TDS | Mg/L | 9,000 |
| Total Hardness as CaCO3 | Mg/L | 14 |
| T Alkalinity as CaCO3 | Mg/L | 300 |
| Chloride as Cl | Mg/L | 5,200 |
| Phosphate as PO4 | Mg/L | 600 |
| Calcium | Mg/L | 900 |
| Turbidity | NTU | 8,000 |
| Colour | Pt-Co |  |

REMARKS

•  Water quality is very good based on the test results, and the container is also damaged.

For,

Nirmaan WaterTech Solutions

Payal Kadam

payalkadam0430@gmail.com