WATER ANALYSIS REPORT

| SAMPLE COLLECTION DATE: | 09-06-2026 |
| --- | --- |
| SAMPLE ANALYSIS DATE: | 12-06-2026 |
| CLIENT NAME: | Shree Prakash Textiles |
| ADDRESS: | Addr |
| CONTACT PERSON: | Mr. R |

RO FEED WATER & RO 3RD STAGE REJECT WATER ANALYSIS REPORT

Dear Sir,

Please find below the water analysis results for Shree Prakash Textiles. The measured parameters for the submitted samples are presented for your review.

| PARAMETER | UNIT | RO FEED WATER | RO 3RD STAGE REJECT WATER |
| --- | --- | --- | --- |
| pH | Mg/L | 7.2 | 7.6 |
| TDS | Mg/L | 1,250 | 10,000 |
| Total Hardness as CaCO3 | Mg/L | 320 | 1,450.5 |
| Chloride as Cl | Mg/L | BDL | <0.1 |
| Sulphate | Mg/L | 85 | 125,000 |

REMARKS

•  Water sample was clear and free from visible impurities.

•  pH value was within the specified range.

•  TDS of reject water is high.

For,

Nirmaan WaterTech Solutions

Ritesh Dantani

info@nirmaanwatertech.com